Method for quantitative assessment of phytoplankton in freshwaters - monitoring method

(fact sheet)

| ##### Water Category | Lakes |  |  |
| --- | --- | --- | --- |
| ##### Water Framework Directive Quality Element | Phytoplankton - composition, abundance and biomass |  |  |
| Name of the method  | Methods for quantitative assessment of phytoplankton in freshwaters |  |  |
| Method proposed by  | ###### Finland |  |  |
| Method commonly used in  | Finland |  |  |
| Short description of the method (approx. 10 lines): |  |  |  |
| Part I. describes sampling and quantitative analysis of freshwater phytoplankton. It includes methods for the procedures of sedimentation, counting under the inverted microscope using phasen-contrast optics and bio-volume and biomass calculations. The analysis is described at three different levels of resolution. Methods for more advanced determination of species are also included and analysis of picophytoplankton. Recommendations are given for the minimum required literature for the work. Part 2. describes the minimum required literature for determination of freshwater planktic green algae during analysis. The procedure of species determination is depending on the kind of samples available. In total the material lists 379 genera and more than 1500 species of green algae with complete authors names, and in most cases with a suggested compulsory formula for determination of bio-volume of the organism. |  |  |  |
| Reference basis of method and comparison (approx. 10 lines): |  |  |  |
| Reference conditions compliant with WFD (yes/no) |  |  |  |
| Status of method |  |  |  |
| International Standard (yes/no) – if yes provide reference number |  |  | CEN TC 230/WG2/TG3 Aquatic plants and benthic algae working group is prepraring a CEN-standard (document N53) |
| National Standard (yes/no) – if yes provide reference number |  |  | no |
| National method (yes/no) – if yes provide reference number and details |  |  | This method is used in Nordic countries |
| Published in literature (yes/no) – if yes provide reference details |  |  |  |
| Reference material |  |  |  |
| Naturvårdsverket, rapport 4860, Olrik, K., Blomqvist, P., Brettum,P.,Cronberg, G. and Eloranta, P. Methods for quantitative assessment of phytoplankton in freshwaters, part 1. 1998. Naturvårdsverket, rapport 4861, Olrik,K., Blomqvist, P., Brettum, P., Cronberg, G. and Eloranta, P. Methods for quantitative assessment of phytoplankton in freshwaters, part 2. 1998. |  |  |  |
| Applicability of the method to WFD (Expert’s assessment of method) |  |  |  |
| Contact details |  |  |  |
| Name of contact/expert |  | Liisa Lepistö |  |
| Expert e-mail address |  | liisa.lepisto@ymparisto.fi |  |
| URL: |  |  |  |
| Telephone number |  | + 358 9 40300312 |  |