PHYTOPLANKTON - monitoring methods

| ##### Water Category | Transitional and Coastal waters |  |  |
| --- | --- | --- | --- |
| ##### Water Framework Directive Quality Element | Composition, abundance and biomass of phytoplankton |  |  |
| Name of the method  | Monitoring of coastal phytoplankton |  |  |
| Method proposed by  | ###### FRANCE |  |  |
| Method commonly used in  | FRANCE (Réseau REPHY) |  |  |
| Short description of the method (approx. 10 lines): |  |  |  |
| The national monitoring network on phytoplankton and phycotoxins (REPHY) is operating in France since 1984. Mainly aimed at the protection of the consumer (phycotoxins), its strategy relies upon the detection of toxic species at fixed stations and the testing of toxicity in shellfish. But it also includes determination and counting of all species at monthly intervals. Complete data series of phytoplankton composition on 66 sampling points are available since 1984. |  |  |  |
| In addition to species composition, chlorophyll and some other parameters are measured (salinity, temperature, oxygen…). All methods are quality tested, documented and applied on a coordinated way by the coastal laboratories of the French Research Institute for Exploitation of the Sea (IFREMER). |  |  |  |
| Reference basis of method and comparison (approx. 10 lines): |  |  |  |
| Reference levels are used for toxic species and toxicity. Reference conditions are under consideration. |  |  |  |
| Reference conditions compliant with WFD (yes/no) |  |  |  |
| Status of method |  |  |  |
| International Standard (yes/no) – if yes provide reference number |  |  | Yes (for toxicity only) |
| National Standard (yes/no) – if yes provide reference number |  |  | Yes (for toxicity only) |
| National method (yes/no) – if yes provide reference number and details |  |  | Yes. See URL in contact details |
| Published in literature (yes/no) – if yes provide reference details |  |  | Yes. See URL in contact details |
| Reference material |  |  |  |
| Applicability of the method to WFD (Expert’s assessment of method) |  |  |  |
| Good. Needs improvements in classification. |  |  |  |
| Contact details |  |  |  |
| Name of contact/expert |  | Catherine Belin |  |
| Expert e-mail address |  | Catherine.belin@ifremer.fr |  |
| URL: |  | www.ifremer.fr/envlit/surveillance/rephy.htm |  |
| Telephone number |  |  |  |