Determination of dissolved oxygen content in water - monitoring method

(fact sheet)

| ##### Water Category | Natural water |  |  |
| --- | --- | --- | --- |
| ##### Water Framework Directive Quality Element | Dissolved oxygen |  |  |
| Name of the method  | Determination of dissolved oxygen content in water |  |  |
| Method proposed by  | ###### Finland |  |  |
| Method commonly used in  | Finland |  |  |
| Short description of the method (approx. 10 lines): |  |  |  |
| Sodiumhydroxide containing manganese(II) ions and iodide ions is added to the sample. Dissolved oxygen rapidly oxidizes an equivalent amount of the dispersed divalent manganous hydroxide precipitate to hydroxides of higher valency states. In the presence of iodide ions in an acidic solution, the oxidized manganese reverts to the divalent state, with the liberation of iodine equivalent to the original dissolved oxygen content. The iodine is titrated with a standard solution of thiosulfate. The result is reported as an oxygen content (mg/l) or as an saturation degree (%). |  |  |  |
| Reference basis of method and comparison (approx. 10 lines): |  |  |  |
| Reference conditions compliant with WFD (yes/no) |  |  |  |
| Status of method |  |  |  |
| International Standard (yes/no) – if yes provide reference number |  |  |  |
| National Standard (yes/no) – if yes provide reference number |  |  |  |
| National method (yes/no) – if yes provide reference number and details |  |  | Cancelled standard SFS 3040, 1990 |
| Published in literature (yes/no) – if yes provide reference details |  |  |  |
| Reference material |  |  |  |
| Applicability of the method to WFD (Expert’s assessment of method) |  |  |  |
| Contact details |  |  |  |
| Name of contact/expert |  |  |  |
| Expert e-mail address |  |  |  |
| URL: |  |  |  |
| Telephone number |  |  |  |