Determination of the inhibition of the mobility of Daphnia magna Straus (Cladocera, Crustacea)- Acute toxicity test  - monitoring method

(fact sheet)

| ##### Water Category | Lake, River, Ground water, Effluents |  |  |
| --- | --- | --- | --- |
| ##### Water Framework Directive Quality Element | Setting the environmental quality standard acute toxicity data |  |  |
| Name of the method  | Determination of the inhibition of the mobility of Daphnia magna Straus (Cladocera, Crustacea)- Acute toxicity test |  |  |
| Method proposed by  | ###### Finland |  |  |
| Method commonly used in  | Finland |  |  |
| Short description of the method (approx. 10 lines): |  |  |  |
| ISO 6341 describes a method for the determination of the acute toxicity to Daphnia magna Straus of a) chemical substances which are soluble under the conditions of the test, or can be maintained as a stable suspension or dispersion under the conditions of the test, b) industrial or sewage effluents, treated or untreated, after decantation, filtration or centrifugation of the test c) surface or ground waters. Determination of the initial concentration which, in 24 h, immobilizes 50 % of exposed Daphnia magna, under the conditions is defined in this standard. This concentration, known as the effective initial inhibitory concentration, is designated 24 h or 48 h – EC50-value. |  |  |  |
| Reference basis of method and comparison (approx. 10 lines): |  |  |  |
| Reference conditions compliant with WFD (yes/no) |  |  |  |
| Status of method |  |  |  |
| International Standard (yes/no) – yes if yes provide reference number |  |  | EN ISO 6341:1996 |
| National Standard (yes/no) – yes if yes provide reference number |  |  | SFS-EN ISO 6341:1996 |
| National method (yes/no) – if yes provide reference number and details |  |  |  |
| Published in literature (yes/no) – if yes provide reference details |  |  |  |
| Reference material |  |  |  |
| EN ISO 6341:1996; Water quality - Determination of the inhibition of the mobility of Daphnia magna Straus (Cladocera, Crustacea)- Acute toxicity test |  |  |  |
| Applicability of the method to WFD (Expert’s assessment of method) |  |  |  |
| Contact details |  |  |  |
| Name of contact/expert |  | Marja Ruoppa |  |
| Expert e-mail address |  | marja.ruoppa@ymparisto.fi |  |
| URL: |  |  |  |
| Telephone number |  | + 358 9 40300403 |  |